## Sheet1
Spreadsheet for Error Correcting DUT Impedance Measurement
Spreadsheet for Error Correction D, Works SS, 7/10/10
These are the inputs of the spreadsheet: |  |  |  | Oscilloscope SOL cals and DUT Voltage Vector Measurements
Short Cal |  |  |  | Open Cal |  |  |  | Load Cal
Vector | Mag | Phase, deg |  | Vector | Mag | Phase, deg |  | Vector | Mag | Phase, deg
Vfshortm | 0.059 | 0 |  | Vfopenm | 0.065 | 0 |  | Vfloadm | 0.062 | 0
Vrshortm | 0.059 | -31.5 |  | Vropenm | 0.065 | 162 |  | Vrloadm | 0.006 | -113.4
DUT
Specify the System Impedance, Zo | [7 empty] | Vector | Mag | Phase, deg
| Mag | Phase, deg | [5 empty] | Vfm | 0.061 | 0
| 50 | 0 | [5 empty] | Vrm | 0.013 | -50.4
These are the outputs of the spreadsheet: |  |  |  | Error-Corrected Results and some Measured (uncorrected) Results
Corrected DUT Load Impedance, Zlc |  |  |  | Corrected DUT Load Refl. Coef.,Glc |  |  |  | Corrected DUT VSWR, VSWRc
| Mag | Phase, deg |  |  | Mag | Phase, deg |  |  | Mag
| 33.955 | -0.63177 |  |  | 0.19119 | -178.408 |  |  | 1.4728
Measured DUT Load Impedance, Zlm |  |  |  | Measured DUT Load Rfl. Coef.,Glm |  |  |  | Corrected DUT Return Loss, RL(dB)c
| Mag | Phase, deg |  |  | Mag | Phase, deg |  |  | Mag, dB
| 65.2358 | -18.9853 |  |  | 0.21311 | -50.4 |  |  | 14.3705
|  |  | Complex Math Functions |  |  | -these do the complex math calculations
Inputs |  |  | Outputs
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real sum | Imag sum | Mag sum | Deg sum | Rad sum
V1 | 1 | 45 | 0.7854 | 0.70711 | 0.70711
V2 | 2 | 45 | 0.7854 | 1.4142 | 1.4142 | 2.1213 | 2.1213 | 3 | 45 | 0.7854
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real diff | Imag diff | Mag diff | Deg diff | Rad diff
V1 | 1 | 45 | 0.7854 | 0.70711 | 0.70711
V2 | 2 | 45 | 0.7854 | 1.4142 | 1.4142 | -0.70711 | -0.70711 | 1 | -135 | -2.3562
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real prod | Imag prod | Mag prod | Deg prod | Rad prod
V1 | 1 | 45 | 0.7854 | 0.70711 | 0.70711
V2 | 2 | 45 | 0.7854 | 1.4142 | 1.4142 | 1.2246e-16 | 2 | 2 | 90 | 1.5708
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real quot | Imag quot | Mag quot | Deg quot | Rad quot
V1 | 1 | 45 | 0.7854 | 0.70711 | 0.70711
V2 | 2 | 45 | 0.7854 | 1.4142 | 1.4142 | 0.5 | 0 | 0.5 | 0 | 0
Calculation of Measured (uncorrected) Load Voltage Reflection Coefficients of Cals and DUT
calculate the measured Gamma for the SOL short circuit termination | [7 empty] | Gshortm
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real quot | Imag quot | Mag quot | Deg quot | Rad quot
Vrshortm | 0.059 | -31.5 | -0.54978 | 0.050306 | -0.030827
Vfshortm | 0.059 | 0 | 0 | 0.059 | 0 | 0.85264 | -0.5225 | 1 | -31.5 | -0.54978
calc. the measured Gamma for the SOL open circuit termination | [7 empty] | Gopenm
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real quot | Imag quot | Mag quot | Deg quot | Rad quot
Vropenm | 0.065 | 162 | 2.8274 | -0.061819 | 0.020086
Vfopenm | 0.065 | 0 | 0 | 0.065 | 0 | -0.95106 | 0.30902 | 1 | 162 | 2.8274
calc. the measured Gamma for the SOL system load (usually 50 Ohms) termination | [7 empty] | Gloadm
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real quot | Imag quot | Mag quot | Deg quot | Rad quot
Vrloadm | 0.006 | -113.4 | -1.9792 | -0.0023829 | -0.0055065
Vfloadm | 0.062 | 0 | 0 | 0.062 | 0 | -0.038434 | -0.088815 | 0.096774 | -113.4 | -1.9792
calc. the measured Gamma for the DUT | [7 empty] | Glm
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real quot | Imag quot | Mag quot | Deg quot | Rad quot
Vrm | 0.013 | -50.4 | -0.87965 | 0.0082865 | -0.010017
Vfm | 0.061 | 0 | 0 | 0.061 | 0 | 0.13584 | -0.16421 | 0.21311 | -50.4 | -0.87965
Calculation of Error Vector Terms ED, ES, and ET
Directivity Error Vector Term, ED
| Mag | Phase, deg
| 0.096774 | -113.4 | (this equals Gloadm)
Calculations for Source Mismatch Error Vector Term, ES | [7 empty] | Gshort+open
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real sum | Imag sum | Mag sum | Deg sum | Rad sum
Gshortm | 1 | -31.5 | -0.54978 | 0.85264 | -0.5225
Gopenm | 1 | 162 | 2.8274 | -0.95106 | 0.30902 | -0.098416 | -0.21348 | 0.23507 | -114.75 | -2.0028
Gshort-open
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real diff | Imag diff | Mag diff | Deg diff | Rad diff
Gshortm | 1 | -31.5 | -0.54978 | 0.85264 | -0.5225
Gopenm | 1 | 162 | 2.8274 | -0.95106 | 0.30902 | 1.8037 | -0.83152 | 1.9861 | -24.75 | -0.43197
2Gloadm
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real prod | Imag prod | Mag prod | Deg prod | Rad prod
V1 | 2 | 0 | 0 | 2 | 0
Gloadm | 0.096774 | -113.4 | -1.9792 | -0.038434 | -0.088815 | -0.076867 | -0.17763 | 0.19355 | -113.4 | -1.9792
calc. the numerator | [7 empty] | Numerator
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real diff | Imag diff | Mag diff | Deg diff | Rad diff
2Gloadm | 0.19355 | -113.4 | -1.9792 | -0.076867 | -0.17763
Gshort+open | 0.23507 | -114.75 | -2.0028 | -0.098416 | -0.21348 | 0.021549 | 0.035852 | 0.041829 | 58.9916 | 1.0296
calc. the quotient | [7 empty] | ES
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real quot | Imag quot | Mag quot | Deg quot | Rad quot
Numerator | 0.041829 | 58.9916 | 1.0296 | 0.021549 | 0.035852
Gshort-open | 1.9861 | -24.75 | -0.43197 | 1.8037 | -0.83152 | 0.0022959 | 0.020935 | 0.021061 | 83.7416 | 1.4616
Source Mismatch Err Vec Term, ES
| Mag | Phase, deg
| 0.021061 | 83.7416
Calculations for Reflection Tracking Error Vector Term, ET | [7 empty] | Gopen-load
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real diff | Imag diff | Mag diff | Deg diff | Rad diff
Gopenm | 1 | 162 | 2.8274 | -0.95106 | 0.30902
Gloadm | 0.096774 | -113.4 | -1.9792 | -0.038434 | -0.088815 | -0.91262 | 0.39783 | 0.99557 | 156.4466 | 2.7305
Gshort-load
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real diff | Imag diff | Mag diff | Deg diff | Rad diff
Gshortm | 1 | -31.5 | -0.54978 | 0.85264 | -0.5225
Gloadm | 0.096774 | -113.4 | -1.9792 | -0.038434 | -0.088815 | 0.89107 | -0.43368 | 0.99101 | -25.9521 | -0.45295
calc. 2 times Gopen-load | [7 empty] | 2Gopen-load
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real prod | Imag prod | Mag prod | Deg prod | Rad prod
V1 | 2 | 0 | 0 | 2 | 0
Gopen-load | 0.99557 | 156.4466 | 2.7305 | -0.91262 | 0.39783 | -1.8252 | 0.79566 | 1.9911 | 156.4466 | 2.7305
Gshort-open
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real diff | Imag diff | Mag diff | Deg diff | Rad diff
Gshortm | 1 | -31.5 | -0.54978 | 0.85264 | -0.5225
Gopenm | 1 | 162 | 2.8274 | -0.95106 | 0.30902 | 1.8037 | -0.83152 | 1.9861 | -24.75 | -0.43197
Numerator
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real prod | Imag prod | Mag prod | Deg prod | Rad prod
2Gopen-load | 1.9911 | 156.4466 | 2.7305 | -1.8252 | 0.79566
Gshort-load | 0.99101 | -25.9521 | -0.45295 | 0.89107 | -0.43368 | -1.2814 | 1.5006 | 1.9732 | 130.4945 | 2.2776
calc. the quotient | [7 empty] | ET
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real quot | Imag quot | Mag quot | Deg quot | Rad quot
Numerator | 1.9732 | 130.4945 | 2.2776 | -1.2814 | 1.5006
Gshort-open | 1.9861 | -24.75 | -0.43197 | 1.8037 | -0.83152 | -0.9022 | 0.41602 | 0.9935 | 155.2445 | 2.7095
Reflection Tracking Error Term, ET
| Mag | Phase, deg
| 0.9935 | 155.2445
Calculation of Measured (uncorrected) Load Voltage Reflection Coefficient of DUT, Glm
Glm
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real quot | Imag quot | Mag quot | Deg quot | Rad quot
Vrm | 0.013 | -50.4 | -0.87965 | 0.0082865 | -0.010017
Vfm | 0.061 | 0 | 0 | 0.061 | 0 | 0.13584 | -0.16421 | 0.21311 | -50.4 | -0.87965
Measured Refl. Coeff. of DUT, Glm
| Mag | Phase, deg
| 0.21311 | -50.4
Calculation of Measured (uncorrected) DUT Load Impedance, Zlm
1+Glm
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real sum | Imag sum | Mag sum | Deg sum | Rad sum
V1 | 1 | 0 | 0 | 1 | 0
Glm | 0.21311 | -50.4 | -0.87965 | 0.13584 | -0.16421 | 1.1358 | -0.16421 | 1.1477 | -8.2262 | -0.14357
calc. the numerator | [7 empty] | Zo(1+Glm)
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real prod | Imag prod | Mag prod | Deg prod | Rad prod
Zo | 50 | 0 | 0 | 50 | 0
1+Glm | 1.1477 | -8.2262 | -0.14357 | 1.1358 | -0.16421 | 56.7922 | -8.2104 | 57.3826 | -8.2262 | -0.14357
calc. the denominator | [7 empty] | 1 - Glm
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real diff | Imag diff | Mag diff | Deg diff | Rad diff
V1 | 1 | 0 | 0 | 1 | 0
Glm | 0.21311 | -50.4 | -0.87965 | 0.13584 | -0.16421 | 0.86416 | 0.16421 | 0.87962 | 10.7591 | 0.18778
calc. the quotient
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real quot | Imag quot | Mag quot | Deg quot | Rad quot
numerator | 57.3826 | -8.2262 | -0.14357 | 56.7922 | -8.2104
denominator | 0.87962 | 10.7591 | 0.18778 | 0.86416 | 0.16421 | 61.6871 | -21.2229 | 65.2358 | -18.9853 | -0.33136
Measured Load Impedance, Zlm
| Mag | Phase, deg
| 65.2358 | -18.9853
Calculation of the Corrected Load Reflection Coefficient of the DUT, Glc
Calc. the numerator | [7 empty] | Glm-ED
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real diff | Imag diff | Mag diff | Deg diff | Rad diff
Glm | 0.21311 | -50.4 | -0.87965 | 0.13584 | -0.16421
ED | 0.096774 | -113.4 | -1.9792 | -0.038434 | -0.088815 | 0.17428 | -0.075393 | 0.18989 | -23.3933 | -0.40829
Glm+ED
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real sum | Imag sum | Mag sum | Deg sum | Rad sum
Glm | 0.21311 | -50.4 | -0.87965 | 0.13584 | -0.16421
ED | 0.096774 | -113.4 | -1.9792 | -0.038434 | -0.088815 | 0.097411 | -0.25302 | 0.27113 | -68.9439 | -1.2033
ES(Glm-ED)
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real prod | Imag prod | Mag prod | Deg prod | Rad prod
ES | 0.021061 | 83.7416 | 1.4616 | 0.0022959 | 0.020935
Glm-ED | 0.18989 | -23.3933 | -0.40829 | 0.17428 | -0.075393 | 0.0019785 | 0.0034755 | 0.0039991 | 60.3482 | 1.0533
calc. the denominator | [7 empty] | ET+ES(Glm-ED)
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real sum | Imag sum | Mag sum | Deg sum | Rad sum
ET | 0.9935 | 155.2445 | 2.7095 | -0.9022 | 0.41602
ES(Glm-ED) | 0.0039991 | 60.3482 | 1.0533 | 0.0019785 | 0.0034755 | -0.90022 | 0.4195 | 0.99317 | 155.0146 | 2.7055
calc. the quotient
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real quot | Imag quot | Mag quot | Deg quot | Rad quot
Glm-ED | 0.18989 | -23.3933 | -0.40829 | 0.17428 | -0.075393
denominator | 0.99317 | 155.0146 | 2.7055 | -0.90022 | 0.4195 | -0.19112 | -0.0053119 | 0.19119 | -178.408 | -3.1138
Corrected DUT Load Rfl. Coef., Glc
| Mag | Phase, deg
| 0.19119 | -178.408
Calculation of the Corrected DUT Load Impedance, Zlc
1+Glc
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real sum | Imag sum | Mag sum | Deg sum | Rad sum
V1 | 1 | 0 | 0 | 1 | 0
Glc | 0.19119 | -178.408 | -3.1138 | -0.19112 | -0.0053119 | 0.80888 | -0.0053119 | 0.8089 | -0.37626 | -0.0065669
Calc. the numerator | [7 empty] | Zo(1+Glc)
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real prod | Imag prod | Mag prod | Deg prod | Rad prod
Zo | 50 | 0 | 0 | 50 | 0
1+Glc | 0.8089 | -0.37626 | -0.0065669 | 0.80888 | -0.0053119 | 40.444 | -0.2656 | 40.4449 | -0.37626 | -0.0065669
Calc. the denominator | [7 empty] | 1-Glc
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real diff | Imag diff | Mag diff | Deg diff | Rad diff
V1 | 1 | 0 | 0 | 1 | 0
Glc | 0.19119 | -178.408 | -3.1138 | -0.19112 | -0.0053119 | 1.1911 | 0.0053119 | 1.1911 | 0.25551 | 0.0044596
Calc. the quotient
Vector | Mag | Phase, deg | Phase, rad | Real | Imag | Real quot | Imag quot | Mag quot | Deg quot | Rad quot
Zo(1+Glc) | 40.4449 | -0.37626 | -0.0065669 | 40.444 | -0.2656
1-Glc | 1.1911 | 0.25551 | 0.0044596 | 1.1911 | 0.0053119 | 33.953 | -0.3744 | 33.955 | -0.63177 | -0.011026
| Corrected DUT Load Impedance, Zlc | [5 empty] | Corrected DUT VSWR, VSWRc
|  | Mag | Phase, deg
|  | 33.955 | -0.63177 |  |  |  |  | 1.4728
Corrected DUT Return Loss, RL(dB)c
14.3705